# M45U

## DRYING CABINET

Version October 2025

### Function

It is now over 30 years since Harstra was commissioned by a breathing mask/facemask manufacturer to develop and manufacture an entirely new type of drying cabinet. This cabinet had to distinguish itself from the existing cabinets already available on the market. After months of test work and research, they succeeded in manufacturing a product that met customers' requirements.

In 2024, a complete re-design of the drying cabinet took place and the cabinets are now entirely made of stainless steel. Produced using modern production methods and, because of the all-stainless steel housing, very durable in terms of service life and recycling after the end of its service life. In fact, stainless steel is extremely suitable for complete recycling.

### Description

The great advantage of our drying cabinet is that it dries fully automatically whether there are 1 or 45 masks in it, the electronics in combination with the software determines when the masks are dry, and then turns off automatically.

Time-based drying is also possible, you can set the time between 1 minute and 99:58 hours.

The drying cabinet is designed for a low temperature but a large air vortex inside the cabinet (a higher temperature is damaging to the masks).

Warm air recirculates inside the cabinet, with humid air leaving the cabinet at the top and clean air drawn in at the bottom through an inlet filter. The air outlet at the top of the cabinet can be connected to an extraction system.

There is optimum thermal insulation with a minimum thickness of 1.2 inch between the inner and outer walls, with the second advantage that the cabinet is also noise-friendly in use.

In type M 45UL, 5 stainless steel wire baskets are supplied as standard. There is a stainless steel drip tray at the bottom of the cabinet. The solidly insulated door with magnetic tape closure ensures a tight seal.

Four sturdy, adjustable feet ensure the stability of the cabinet.

### Technical details:

All electronic switching is done by a micro-controller that processes the data for both the thermostat, temperature gauge, humidity measurement, timer, heating element and fan.

The temperature range of the cabinet goes up to 135°F and is adjusted to 125°F.

The temperature is read by digital LED display with an accuracy of 1°F

Temperature protection is provided by an additional thermostat (switch-off point approx. 135°C).

The timer is adjustable from 1 minute to 99:58 hours, the time to elapse can be read on the LED display.

Thanks to a unique recirculation system as well as optimum insulation, energy consumption of approx. 0.4 kW/h (measured over 3 hours including warm-up time) can be achieved.

The dryers can be connected to the normal 208 V mains supply and are fused at 16 amps. The door can easily be hung on the left or right.

### Maintenance:

The drying units are extremely easy to maintain and hygienic to use.

The lifespan of the heating element is extended and maintenance costs are kept low because the heating element is controlled by a solid state relay (without mechanical parts).

The inlet filter should be replaced at least twice a year or when the message CHANGE FILTER appears on the screen. This message appears after 500 operating hours.

### Model:

M45U for a maximum of 45 masks

### Advantages compared to other drying cabinets:

- Fully automatic drying of time-based drying

- Designed for drying masks and devices

- Extremely low consumption of electrical energy

- Large capacity of masks

- Easy to operate; one-button operation

- Quiet during operation

- Maintance-free

- Long service lift

- Entirely stainless steel

## DRYING CABINET TYPE M45U

### Specifications

Dimensions	 		:height x width x depth in inches

External				: 66.14 x 23.70 x 23.77

Internal				: 55.12 x 21.34 x 19.69

Content				: 100 gallon

Net weight			: 220 lbs

External				: Stainless steel

Internal				: Stainless steel

Doors				: 1 Piece

Door sealing			: magnetic strip

Drip tray			: polished stainless steel

Adjustable legs			: 4 pieces., adjustable for stability and spirit level

Insulation			: glass wool, min. 1.2 inch thick

Temperature range		: up to 135F. set at 125F. by manufacturer

Second temperature		: self-adjustable

Temperature reading		: digital LED reading

Expiring time clock		: digital LED reading, set between 1 minute and 99:58 hours

Electronic temperature control	: 2 pieces PTC sensors, solid state relay

Electronic moisture measure	: capacitive sensor

Temperature safeguard		: extra thermostat (max. 135F.)

Heating				: direct heating, 2 kW

Air circulation			: by means of 1 low-noise ventilator

Air refreshment			: by air outlet on top of the cabinet, PVC tube of Ø 1.25 inch

Air inlet				: at bottom of the cabinet through a filter

Filter				: Class F5, EN 779

Capacity				: 5 pieces wire baskets, stainless steel and removable

Standard wire baskets		: max. 9 masks/ face pieces, total 45 pieces

Drying time			: approx. 2 hours, depending on the number of

masks and amount of moisture

### Connections

Mains connection		: 208 Volt AC, PE, 60 Hz.

Power				: 2,1 kW, secured 1 x 16 Ampere

Electricity consumption		: average 0,4 kWh

Approval			: UL508A